## cost
|  | Technology | Invest (€/kW) | Invest (€/kWh) | Lifetime (years) | Fixed O&M (€/kW*a) | Variable O&M (€/MWhe) | Fuel cost (€/MWht) - from fuel - | CO2 intensity (t/MWht) | Conversion efficiency (existing) - from data0 - | Conversion efficiency (new built) | Run-through premium | Flexibility premium | invest (€/kW) | invest (€/kWh) | annualized invest (€/kW*a) | annualized invest (€/kWh*a) | qfix-cost mark-up for RT | qfix after RT | Balancing cost (€/MWh) | fix cost incl RT & Flex & Bal (€/kW*a) | fix cost incl RT & Flex & availability (€/kW*a) | total variable cost (€/MWh) | Bidding cost | total cost incl. RT | FLH potential | 1 | 25 | 100 | 500 | 1000 | 1500 | 2000 | 2500 | 3000 | 3500 | 4000 | 4500 | 5000 | 5500 | 6000 | 6500 | 7000 | 7500 | 8000 | 8760
|  |  | invest | energy | lifetime | qfixcost | varcost |  | co2int |  | eff_new | rt_premium | flex_premium | [7 empty] | as in r_tec | [5 empty] | (scarcity price)
Generation |  |  | 6000 |  | 50 | 120 | 6 | 3 | 0 | 0.33 | 0.38 | 10 | 1 | 6000 |  | 434.7591 |  | 100 | 220 | 0 | 654.7591 | 818.4489 | 13.8947 | 3.8947 | nucl |  | 818452.7663 | 32741.8496 | 8188.3835 | 1640.7925 | 822.3436 | 549.5273 | 413.1192 | 331.2743 | 276.711 | 237.7373 | 208.507 | 185.7723 | 167.5845 | 152.7036 | 140.3029 | 129.8099 | 120.816 | 113.0213 | 106.2008 | 97.325
|  |  | 2000 |  | 40 | 45 | 4 | 3 | 0.4 | 0.38 | 0.41 | 6 | 1 | 2000 |  | 150.0183 |  | 60 | 105 | 0 | 255.0183 | 318.7728 | 108.878 | 102.878 | lign |  | 318875.7252 | 12853.7919 | 3290.6065 | 740.4237 | 421.6509 | 315.3933 | 262.2645 | 230.3872 | 209.1357 | 193.956 | 182.5713 | 173.7165 | 166.6326 | 160.8367 | 156.0069 | 151.92 | 148.417 | 145.3811 | 142.7247 | 139.2676
|  |  | 1700 |  | 40 | 40 | 3 | 10.3704 | 0.34 | 0.39 | 0.45 | 4 | 1 | 1700 |  | 127.5155 |  | 40 | 80 | 0 | 207.5155 | 259.3944 | 101.601 | 97.601 | coal |  | 259492.0211 | 10473.3778 | 2691.5452 | 616.3898 | 356.9954 | 270.5306 | 227.2982 | 201.3588 | 184.0658 | 171.7137 | 162.4496 | 155.2442 | 149.4799 | 144.7636 | 140.8334 | 137.5078 | 134.6573 | 132.1869 | 130.0253 | 127.2122
| DEFAULT | cCCS | 3500 |  | 40 | 70 | 7 | 10.3704 | 0.034 |  | 0.36 | 4 | 1 | 3500 |  | 262.532 |  | 40 | 110 | 0 | 372.532 | 465.665 | 45.2512 | 41.2512 | cCCS |  | 465706.2338 | 18667.8505 | 4697.9011 | 972.5812 | 506.9162 | 351.6946 | 274.0837 | 227.5172 | 196.4729 | 174.2984 | 157.6675 | 144.7323 | 134.3842 | 125.9176 | 118.8621 | 112.892 | 107.7748 | 103.3399 | 99.4594 | 94.4093
| DEFAULT | CCGT | 820 |  | 30 | 15 | 2 | 24.8086 | 0.2 | 0.48 | 0.6 | 0 | 1 | 820 |  | 66.0809 |  | 0 | 15 | 0 | 81.0809 | 101.3511 | 76.681 | 76.681 | CCGT |  | 101427.7446 | 4130.7235 | 1090.1916 | 279.3831 | 178.032 | 144.2483 | 127.3565 | 117.2214 | 110.4646 | 105.6384 | 102.0187 | 99.2034 | 96.9512 | 95.1084 | 93.5728 | 92.2734 | 91.1597 | 90.1944 | 89.3498 | 88.2507
| DEFAULT | gCCS | 1750 |  | 40 | 41 | 3 | 24.8086 | 0.02 |  | 0.43 | 0 | 1 | 1750 |  | 131.266 |  | 0 | 41 | 0 | 172.266 | 215.3325 | 65.3455 | 65.3455 | gCCS |  | 215397.8368 | 8678.6452 | 2218.6704 | 496.0105 | 280.678 | 208.9005 | 173.0118 | 151.4785 | 137.123 | 126.8691 | 119.1786 | 113.1972 | 108.412 | 104.4969 | 101.2343 | 98.4736 | 96.1073 | 94.0565 | 92.2621 | 89.9268
| DEFAULT | CCH2 | 820 |  | 30 | 15 | 2 | 50.7614 | 0 | 0.48 | 0.6 | 0 | 1 | 820 |  | 66.0809 |  | 0 | 15 | 0 | 81.0809 | 101.3511 | 86.6024 | 86.6024 | CCH2 |  | 101437.666 | 4140.6449 | 1100.113 | 289.3045 | 187.9534 | 154.1697 | 137.2779 | 127.1428 | 120.3861 | 115.5598 | 111.9401 | 109.1248 | 106.8726 | 105.0298 | 103.4942 | 102.1948 | 101.0811 | 100.1158 | 99.2713 | 98.1721
| DEFAULT | OCGT | 600 |  | 25 | 7 | 2 | 24.8086 | 0.2 | 0.3 | 0.4 | 0 | 0.7 | 600 |  | 51.4863 |  | 0 | 7 | 0 | 40.9404 | 51.1755 | 114.0214 | 114.0214 | OCGT |  | 51289.543 | 2161.0423 | 625.7766 | 216.3725 | 165.1969 | 148.1384 | 139.6092 | 134.4916 | 131.0799 | 128.643 | 126.8153 | 125.3938 | 124.2565 | 123.3261 | 122.5507 | 121.8946 | 121.3322 | 120.8448 | 120.4184 | 119.8634
| DEFAULT | shed | 0 |  | 1 | 0 | 0 | 1000 | 0 | 1 | 1 | 0 | 1 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 1000 | 1000 | shed |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| DEFAULT | wion | 1100 |  | 25 | 15 |  |  |  | 1 | 1 | 0 | 1 | 1100 |  | 94.3916 |  | 0 | 15 | 3 | 109.3916 | 136.7395 | 0 | 0 | wion | 0
| DEFAULT | wiof | 2200 |  | 25 | 30 |  |  |  | 1 | 1 | 0 | 1 | 2200 |  | 188.7831 |  | 0 | 30 | 3 | 229.2831 | 286.6039 | 0 | 0 | wiof | 3500
| DEFAULT | solar | 700 |  | 25 | 8 |  |  |  | 1 | 1 | 0 | 1 | 700 |  | 60.0674 |  | 0 | 8 | 3 | 68.0674 | 85.0842 | 0 | 0 | solar | 0 |  | #DIV/0!
No invest | DEFAULT | hydr | 3000 |  | 60 | 25 |  |  |  | 1 | 1 | 0 | 1 | 3000 |  | 213.6877 |  | 0 | 25 | 0 | 238.6877 | 298.3596 | 0 | 0 | hydro | 0 |  | #DIV/0!
Exogenous | DEFAULT | ror | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1.07 |  | 10 | 11 | 0 | 12.07 | 15.0875 | 102 | 101 | min |  | 1000 | 1000 | 625.7766 | 216.3725 | 165.1969 | 144.2483 | 127.3565 | 117.2214 | 110.4646 | 105.6384 | 102.0187 | 99.2034 | 96.9512 | 95.1084 | 93.5728 | 92.2734 | 91.1597 | 90.1944 | 89.3498 | 88.2507
dispatch | DEFAULT | bio | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1.07 |  | 10 | 11 | 0 | 12.07 | 15.0875 | 102 | 101 | Storage E2P |  | 0.5 | 1 | 2 | 3 | 5 | 10 | 20 | 50 | 100 | 200
Storage | DEFAULT | PHS | 500 | 50 | 40 | 15 |  |  |  | 0.7 | 0.7 | 0 | 0.7 | 500 | 50 | 37.5046 | 3.7505 | 0 | 15 | 0 | 36.7532 | 45.9415 | 0 | 0 | PHS |  | 47.8167 | 49.692 | 53.4424 | 57.1929 | 64.6938 | 83.4461 | 120.9506 | 233.4643 | 420.9872 | 796.0329
| DEFAULT | batr | 200 | 400 | 12 | 0 | 0 |  |  | 0.92 | 0.92 | 0 | 0.7 | 200 | 400 | 25.1804 | 50.3608 | 0 | 0 | 0 | 17.6263 | 22.0328 | 0 | 0 | batr |  | 47.2132 | 72.3936 | 122.7544 | 173.1152 | 273.8368 | 525.6408 | 1029.2488 | 2540.0726 | 5058.1124 | 10094.1919
Generation |  |  | 6000 |  | 50 | 105 | 8 | 3 | 0 |  | 0.38 | 10 | 1 | 6000 |  | 434.7591 |  | 100 | 205 | 0 | 639.7591 | 799.6989 | 15.8947 | 5.8947 | nucl |  | 799704.7663 | 31993.8496 | 8002.8835 | 1605.2925 | 805.5936 | 539.0273 | 405.7442 | 325.7743 | 272.461 | 234.3801 | 205.8195 | 183.6056 | 165.8345 | 151.2945 | 139.1779 | 128.9253 | 120.1374 | 112.5213 | 105.8571 | 97.1846
|  |  | 2000 |  | 40 | 40 | 4 | 3 | 0.4 |  | 0.44 | 6 | 1 | 2000 |  | 150.0183 |  | 60 | 100 | 0 | 250.0183 | 312.5228 | 101.7273 | 95.7273 | lign |  | 312618.5745 | 12596.6412 | 3220.9557 | 720.773 | 408.2501 | 304.0758 | 251.9887 | 220.7364 | 199.9016 | 185.0195 | 173.858 | 165.1768 | 158.2318 | 152.5496 | 147.8144 | 143.8077 | 140.3734 | 137.397 | 134.7926 | 131.4034
|  |  | 1700 |  | 40 | 30 | 3 | 10 | 0.34 |  | 0.47 | 4 | 1 | 1700 |  | 127.5155 |  | 40 | 70 | 0 | 197.5155 | 246.8944 | 96.617 | 92.617 | coal |  | 246987.0371 | 9968.3938 | 2561.5612 | 586.4059 | 339.5114 | 257.2133 | 216.0642 | 191.3748 | 174.9152 | 163.1583 | 154.3406 | 147.4824 | 141.9959 | 137.5069 | 133.7661 | 130.6008 | 127.8877 | 125.5363 | 123.4788 | 120.8013
| DEFAULTLTE | cCCS | 3000 |  | 40 | 60 | 6 | 10 | 0.04 |  | 0.39 | 4 | 1 | 3000 |  | 225.0274 |  | 40 | 100 | 0 | 325.0274 | 406.2843 | 41.8974 | 37.8974 | cCCS |  | 406322.1682 | 16289.2683 | 4100.7401 | 850.466 | 444.1817 | 308.7536 | 241.0396 | 200.4111 | 173.3255 | 153.9787 | 139.4685 | 128.1828 | 119.1543 | 111.7673 | 105.6115 | 100.4027 | 95.938 | 92.0687 | 88.683 | 84.2769
| DEFAULTLTE | CCGT | 750 |  | 30 | 15 | 2 | 30 | 0.2 |  | 0.63 | 0 | 1 | 750 |  | 60.4398 |  | 0 | 15 | 0 | 75.4398 | 94.2998 | 81.3651 | 81.3651 | CCGT |  | 94381.1184 | 3853.3552 | 1024.3626 | 269.9646 | 175.6648 | 144.2316 | 128.515 | 119.085 | 112.7983 | 108.3079 | 104.94 | 102.3206 | 100.225 | 98.5105 | 97.0817 | 95.8727 | 94.8365 | 93.9384 | 93.1525 | 92.1299
| DEFAULTLTE | gCCS | 1500 |  | 40 | 34 | 3 | 30 | 0.02 |  | 0.49 | 0 | 1 | 1500 |  | 112.5137 |  | 0 | 34 | 0 | 146.5137 | 183.1421 | 68.3061 | 68.3061 | gCCS |  | 183210.4415 | 7393.9915 | 1899.7275 | 434.5904 | 251.4483 | 190.4009 | 159.8772 | 141.563 | 129.3535 | 120.6324 | 114.0917 | 109.0044 | 104.9345 | 101.6047 | 98.8298 | 96.4818 | 94.4693 | 92.7251 | 91.1989 | 89.2128
| DEFAULTLTE | CCH2 | 750 |  | 30 | 15 | 2 | 50.7614 | 0 |  | 0.63 | 0 | 1 | 750 |  | 60.4398 |  | 0 | 15 | 0 | 75.4398 | 94.2998 | 82.5737 | 82.5737 | CCH2 |  | 94382.327 | 3854.5638 | 1025.5712 | 271.1732 | 176.8734 | 145.4402 | 129.7236 | 120.2936 | 114.0069 | 109.5165 | 106.1486 | 103.5292 | 101.4336 | 99.7191 | 98.2903 | 97.0813 | 96.0451 | 95.147 | 94.3612 | 93.3385
| DEFAULTLTE | OCGT | 550 |  | 25 | 7 | 2 | 30 | 0.2 |  | 0.4 | 0 | 0.7 | 550 |  | 47.1958 |  | 0 | 7 | 0 | 37.937 | 47.4213 | 127 | 127 | OCGT |  | 47548.3114 | 2023.8525 | 601.2131 | 221.8426 | 174.4213 | 158.6142 | 150.7107 | 145.9685 | 142.8071 | 140.5489 | 138.8553 | 137.5381 | 136.4843 | 135.6221 | 134.9036 | 134.2956 | 133.7745 | 133.3228 | 132.9277 | 132.4134
| DEFAULTLTE | shed | 0 |  | 1 | 0 | 0 | 1000 | 0 |  | 1 | 0 | 1 | 0 |  | 0 |  | 0 | 0 | 0 | 0 | 0 | 1000 | 1000 | shed |  | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| DEFAULTLTE | wion | 800 |  | 25 | 15 |  |  |  |  | 1 | 0 | 1 | 800 |  | 68.6484 |  | 0 | 15 | 3 | 83.6484 | 104.5605 | 0 | 0 | wion | 0
| DEFAULTLTE | wiof | 1750 |  | 25 | 30 |  |  |  |  | 1 | 0 | 1 | 1750 |  | 150.1684 |  | 0 | 30 | 3 | 190.6684 | 238.3355 | 0 | 0 | wiof | 3500
| DEFAULTLTE | solar | 450 |  | 25 | 8 |  |  |  |  | 1 | 0 | 1 | 450 |  | 38.6147 |  | 0 | 8 | 3 | 46.6147 | 58.2684 | 0 | 0 | solar | 0 |  | #DIV/0!
No invest | DEFAULTLTE | hydr | 3000 |  | 60 | 25 |  |  |  |  | 1 | 0 | 1 | 3000 |  | 213.6877 |  | 0 | 25 | 0 | 238.6877 | 298.3596 | 0 | 0 | hydro | 0 |  | #DIV/0!
Exogenous | DEFAULTLTE | ror | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1.07 |  | 10 | 11 | 0 | 12.07 | 15.0875 | 102 | 101 | min |  | 1000 | 1000 | 601.2131 | 221.8426 | 174.4213 | 144.2316 | 128.515 | 119.085 | 112.7983 | 108.3079 | 104.94 | 102.3206 | 100.225 | 98.5105 | 97.0817 | 95.8727 | 94.4693 | 92.0687 | 88.683 | 84.2769
dispatch | DEFAULTLTE | bio | 1 |  | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 |  | 1.07 |  | 10 | 11 | 0 | 12.07 | 15.0875 | 102 | 101 | Storage E2P |  | 0.5 | 1 | 2 | 3 | 5 | 10 | 20 | 50 | 100 | 200
Storage | DEFAULTLTE | PHS | 443.5 | 44.35 | 40 | 20 |  |  |  |  | 0.7 | 0 | 0.7 | 443.5 | 44.35 | 33.2666 | 3.3267 | 0 | 20 | 0 | 37.2866 | 46.6082 | 0 | 0 | PHS |  | 48.2716 | 49.9349 | 53.2615 | 56.5882 | 63.2415 | 79.8748 | 113.1413 | 212.941 | 379.2738 | 711.9393
| DEFAULTLTE | batr | 75 | 150 | 12 | 13 | 0 |  |  |  | 0.92 | 0 | 0.7 | 75 | 150 | 9.4426 | 18.8853 | 0 | 13 | 0 | 15.7099 | 19.6373 | 0 | 0 | batr |  | 29.08 | 38.5226 | 57.4079 | 76.2932 | 114.0638 | 208.4903 | 397.3433 | 963.9022 | 1908.1671 | 3796.697
Light blue area is used in EMMA.
[14 empty] | 265 |  | #REF! |  | scarcity price LT | #REF! |  | scarcity price ST
|  | CO2 Price | 100 | [10 empty] | 8760 |  | #REF! |  | scarcity price LT | #REF! |  | scarcity price ST
|  | Discount rate | 7%
|  | avail thermal | 0.8
|  | avail other | 1
These parameters are set in GAMS.
DEFAULT Assumptions are based on Asset 2020/2015
DEFAULTLTE Assumptions are based on Asset 2050/Ultimate
CO2 intensity based on Juhrich, K. (2016): CO2-Emissionsfaktoren für fossile Brennstoffe. Climate Change 27/2016. Fachgebiet Emissionssituation (I 2.6). Umweltbundesamt. Berlin.

## fuel
Fuel costs in €/MWht (Source: Market prices, own assumption)
| DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT |  | Info GAS PRICES - Monthly $ per MMBtu market prices from IMF Community data portal (German Border Prices) https://www.imf.org/en/Research/commodity-prices (Data: "Downoad the data", Description of Var.: "By commoditiy, in terms of US$, market prices") - Average of monthly values, multiplied by 3.4092 to get $ per MWh prices, converted results to € COAL PRICES - Yearly values from Statista/Quandl (Northwest Europe coal marker price from 2003 to 2018) https://www.statista.com/statistics/383500/northwest-europe-coal-marker-price/ (Last access: 14.04.2020) and https://www.quandl.com/data/BP/COAL_PRICES-Coal-Prices - Converted to €, converted data from €/Metric ton to €/ MWh by dividing values by 8.141 (1 tonne of oil equivalent = 8.141MWh) EXCHANGE RATE: https://www.xe.com/currencyconverter/convert/?Amount=1&From=USD&To=EUR (0.9194 EUR/USD on 08.04.2020)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | LTE
| 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | nucl
| 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 | lign
| 16.6775 | 7.9798 | 10.4464 | 13.7241 | 10.4464 | 9.2255 | 8.5131 | 6.3966 | 6.7857 | 9.5441 | 10.3704 |  | 10 | coal
cCCS | [10 empty] | 10.3704 |  | 10
CCGT | 30.4854 | 21.6675 | 21.1685 | 25.9814 | 31.8261 | 28.7541 | 26.8807 | 22.4711 | 13.6452 | 18.0027 | 24.8086 | 13.9465 | 30
gCCS | [10 empty] | 24.8086 |  | 30
CCH2 | [10 empty] | 50.7614 |  | 50.7614
OCGT | 30.4854 | 21.6675 | 21.1685 | 25.9814 | 31.8261 | 28.7541 | 26.8807 | 22.4711 | 13.6452 | 18.0027 | 24.8086 | 13.9465 | 30
shed | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Light blue area is used in EMMA.
CO2 prices in €/t | [14 empty] | --> can be overwritten in GAMS by CLP "CO2"
| DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT |  | Info - ETS prices are calculated as the average of daily ICAP data https://icapcarbonaction.com/en/ets-prices - UK Carbon Price Support is taken from https://www.uktradeinfo.com/Statistics/Pages/TaxAndDutyBulletins.aspx (Climate Change Levy) and transformed in €/tCO2 - UK Carbon Support is frozen since 2015 and has been frozen till 2020 at 18Pund/tCO2. The target price is always set a couple of years in advance (UK Gov 2019 https://www.google.de/url?sa=t&rct=j&q=&esrc=s&source=web&cd=2&cad=rja&uact=8&ved=2ahUKEwim65qb5o3pAhVNUhoKHahPAhIQFjABegQIChAE&url=https%3A%2F%2Fresearchbriefings.files.parliament.uk%2Fdocuments%2FSN05927%2FSN05927.pdf&usg=AOvVaw3zVdh5OARtAvLuGhepU_rV) EXCHANGE RATE: https://www.xe.com/de/currencyconverter/convert/?Amount=18&From=GBP&To=EUR (1,14527 EUR/GBP on 29.04.2020)
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | LTE
ETS | 22.4509 | 13.1512 | 14.3357 | 12.9407 | 7.3826 | 4.4698 | 5.949 | 7.6819 | 5.3498 | 5.8285 | 15.8203 | 24.8393 | 30
GBR | 22.4509 | 13.1512 | 14.3357 | 12.9407 | 7.3826 | 10.1298 | 16.889 | 28.3919 | 25.9598 | 26.4385 | 36.4303 | 45.4493 | 30
Light blue area is used in EMMA.
GBR Carbon Price Support | [5 empty] | 5.66 | 10.94 | 20.71 | 20.61 | 20.61 | 20.61 | 20.61 | 0

## yload
Yearly electricity demand in TWh (Source: IEA Monthly electricity statistics)
| DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | DEFAULT | INFOBOX - Source: IEA Monthly OECD Electricity Statistics http://www.iea.org/statistics/relatedsurveys/monthlyelectricitysurvey/ - yload = electricity supplied - used for pumped hydro - Values from 2016 on are based on "New Breakdown" - Values 2008-2015 the "New Breakdown" is not available, so we use the "Old Breakdown" and assume pumped hydro to be equal to the 2016-2019 average of the "New Breakdown" Note: - Numbers are somewhat different to Eurostat's Inland Demand (ID) (nrg_cb_e). Example: ID for BE, FR & DE in 2016 are 87, 492 and 556, as well as in 2018 are 88, 488 and 552. - IEA Data was chosen vs. Eurostat because 1. more recent data & 2. CH included
| 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | LTE
AUT | 64.6712 | 63.5792 | 66.7772 | 67.1542 | 68.4932 | 68.3172 | 67.7532 | 68.7384 | 67.7666 | 68.8482 | 69.0037 | 69.3953 | 68.7535
BEL | 90.6489 | 84.3559 | 90.6569 | 87.9319 | 88.5509 | 88.4979 | 86.0559 | 87.0262 | 87.1648 | 87.653 | 88.2224 | 86.8982 | 87.4846
CHE | 62.0003 | 60.5063 | 62.9603 | 61.8563 | 62.3183 | 62.5273 | 60.5553 | 61.1746 | 62.6955 | 63.0418 | 61.9737 | 61.9487 | 62.4149
CZE | 64.1644 | 60.8894 | 63.0604 | 62.5324 | 62.5154 | 62.5194 | 61.4984 | 63.701 | 63.854 | 65.3184 | 65.507 | 65.2313 | 64.9777
DNK | 36.304 | 34.798 | 35.736 | 34.868 | 34.437 | 34.228 | 33.492 | 33.607 | 34.1382 | 34.2188 | 33.9702 | 34.6514 | 34.2446
ESP | 286.9326 | 271.7686 | 279.0446 | 273.6156 | 271.7966 | 264.1506 | 261.5216 | 275.2333 | 267.192 | 270.48 | 271.2366 | 267.6023 | 269.1277
FIN | 87.251 | 81.293 | 87.702 | 84.242 | 85.128 | 84.046 | 83.291 | 82.2858 | 85.1512 | 85.4631 | 87.3965 | 86.2218 | 86.0581
FRA | 493.619 | 479.506 | 506.828 | 473.358 | 490.022 | 493.505 | 465.363 | 472.1743 | 492.1161 | 490.8598 | 486.5614 | 486.7733 | 489.0776
GBR | 380.224 | 359.658 | 364.914 | 353.704 | 353.981 | 352.346 | 336.799 | 332.4091 | 337.5418 | 333.6011 | 337.9078 | 332.0003 | 335.2627
GER | 573.0095 | 538.4175 | 572.0165 | 565.2965 | 564.3445 | 556.6525 | 537.9935 | 555.7586 | 556.31 | 558.342 | 558.9264 | 541.8991 | 553.8694
GRC | 41.283 | 38.857 | 39.808 | 40.174 | 40.309 | 39.906 | 40.675 | 41.9168 | 42.259 | 43.577 | 43.9942 | 44.2718 | 43.5255
ITA | 344.7715 | 323.7375 | 332.5765 | 334.8445 | 328.5785 | 318.6395 | 309.6065 | 314.9889 | 314.2616 | 320.5481 | 322.0787 | 319.6728 | 319.1403
NLD | 119.224 | 113.835 | 117.121 | 118.13 | 115.761 | 115.045 | 113.421 | 115.0801 | 115.9466 | 116.9788 | 117.5418 | 117.6581 | 117.0313
NOR | 126.3505 | 120.8955 | 129.3345 | 122.7025 | 128.0545 | 127.3135 | 124.8565 | 128.4344 | 131.196 | 132.531 | 135.6537 | 133.5788 | 133.2399
POL | 140.0466 | 134.9386 | 141.3416 | 142.9126 | 144.0496 | 144.7606 | 146.5366 | 149.9119 | 153.2579 | 156.4215 | 159.8241 | 158.9751 | 157.1196
SWE | 144.3758 | 137.9588 | 147.2878 | 139.6298 | 143.1878 | 139.4638 | 134.9228 | 135.5681 | 140.626 | 141.498 | 138.4753 | 136.2691 | 139.2171
All | 3054.8764 | 2904.9944 | 3037.1654 | 2962.9524 | 2981.5274 | 2951.9184 | 2864.3414 | 2918.0084 | 2951.4773 | 2969.3805 | 2978.2735 | 2943.0474 | 2960.5447
aR | 1687.2743 | 1609.9073 | 1704.5863 | 1649.9613 | 1673.9703 | 1665.2383 | 1609.1493 | 1643.9535 | 1676.6174 | 1684.284 | 1685.2051 | 1662.0517 | 1677.0396
| '08 | '09 | '10 | '11 | '12 | '13 | '14 | '15 | '16 | '17 | '18 | '19

## monthly
Monthly fluctuating parameters (Sources: Own assumptions) | [8 empty] | inflow_SWE | ROR_GER
|  | avail_FRA_nuc | avail | avail_mod | gasprice | inflow_SWE | ROR_GER | Ligh blue area is used in EMMA | 70.6 | 4840
jan | 1 | 0.8 | 0.9 | 0.85 | 1.3 | 0.035411 | 0.068182 |  | 2.5 | 330
feb | 2 | 0.8 | 0.9 | 0.85 | 1.3 | 0.026912 | 0.055785 |  | 1.9 | 270
mar | 3 | 0.8 | 0.85 | 0.825 | 1.2 | 0.018414 | 0.061983 |  | 1.3 | 300
apr | 4 | 0.7 | 0.8 | 0.8 | 1 | 0.072238 | 0.07438 |  | 5.1 | 360
may | 5 | 0.7 | 0.75 | 0.775 | 0.9 | 0.21671 | 0.11364 |  | 15.3 | 550
jun | 6 | 0.6 | 0.7 | 0.75 | 0.7 | 0.17989 | 0.11157 |  | 12.7 | 540
jul | 7 | 0.6 | 0.7 | 0.75 | 0.7 | 0.10765 | 0.11983 |  | 7.6 | 580
aug | 8 | 0.6 | 0.75 | 0.775 | 0.7 | 0.090652 | 0.10331 |  | 6.4 | 500
sep | 9 | 0.6 | 0.75 | 0.775 | 0.9 | 0.090652 | 0.088843 |  | 6.4 | 430
oct | 10 | 0.7 | 0.8 | 0.8 | 1 | 0.072238 | 0.076446 |  | 5.1 | 370
nov | 11 | 0.7 | 0.8 | 0.8 | 1 | 0.053824 | 0.068182 |  | 3.8 | 330
dec | 12 | 0.7 | 0.9 | 0.85 | 1.3 | 0.035411 | 0.057851 |  | 2.5 | 280

## FLH
Onshore wind FLH for a 1300 €/kW turbine | [5 empty] | Solar |  | Wind onshore | Wind offshore
| solar | wion | wiof | hydr | ror | Production (TWh) | Capacity (GW) | Capacity factor | Capacity factor
AUT | 972.7891 | 2452.8 |  | 3489.4089 |  | 143 | 147 | 0.28
BEL | 703.7037 | 2102.4 | 4117.2 |  |  | 95 | 135 | 0.24 | 0.47
CHE | 972.7891 | 2452.8 |  | 2287.3119 |  | - | - | -
CZE | 928.2511 | 2102.4 |  |  |  | 207 | 223 | 0.24
DNK | 881.5789 | 3241.2 | 4117.2 |  |  | 134 | 152 | 0.37 | 0.47
FRA | 1072.3844 | 2365.2 | 3679.2 | 2956.0386 |  | 1763 | 1644 | 0.27 | 0.42
GBR | 836.9408 | 2978.4 | 4292.4 | 3004.6594 |  | 580 | 693 | 0.34 | 0.49
GER | 906.8826 | 2102.4 | 3854.4 |  |  | 896 | 988 | 0.24 | 0.44
GRC | 1353.5032 | 2452.8 | 2540.4 |  |  | 425 | 314 | 0.28 | 0.29
NLD | 896.2963 | 2803.2 | 4117.2 |  |  | 121 | 135 | 0.32 | 0.47
NOR | 836.8794 | 3241.2 | 4117.2 | 3114.2757 |  | - | - | 0.37 | 0.47
POL | 913.7738 | 2277.6 | 3942 |  |  | 816 | 893 | 0.26 | 0.45
SWE | 836.8794 | 2628 | 3854.4 | 2247.4311 |  | 118 | 141 | 0.3 | 0.44
ESP | 1445.7099 | 2277.6 | 2715.6 |  |  | 1904 | 1317 | 0.26 | 0.31
ITA | 1267.4944 | 2190 | 2190 |  |  | 1123 | 886 | 0.25 | 0.25
[6 empty] | Ruiz et al. 2019, https://doi.org/10.1016/j.esr.2019.100379 (Fig. 5 in the main document) |  | JRC, 2019: http://data.europa.eu/89h/6d0774ec-4fe5-4ca3-8564-626f4927744e (Fig. 11, low, and Fig. 13 in the PDF document)
Light blue area is used in EMMA.

## km
Distance in km from country center to country center; own estimates.
from (rows) \ to (cols) |  | AUT | BEL | BGR | BIH | CHE | CZE | DNK | DKE | DKW | ESP | FIN | FRA | GBR | GER | GRC | HRV | HUN | IRL | MKD | MNE | NLD | NOR | POL | PRT | ROU | SWE | SE1 | SE2 | SE3 | SE4 | SRB | SVK | SVN | Ligh blue area is used in EMMA
| AUT | BGR: 0; BIH: 0; CHE: 426; CZE: 263; DKE: 0; DKW: 0; ESP: 0; FIN: 0; GER: 463; GRC: 0; HRV: 0; HUN: 434; IRL: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
| BEL |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 260 | 614 | 409 | 0 | 0 | 0 | 0 | 0 | 0 | 176 | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Sources for geographic center:
| BGR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | - for all countries but Great Britain: http://webs.schule.at/website/Europa/Europa_centre_en.htm
| BIH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 |  | - for Great Britain: https://en.wikipedia.org/wiki/Centre_points_of_the_United_Kingdom
| CHE | AUT: 426; BGR: 0; BIH: 0; DKE: 0; DKW: 0; ESP: 0; FIN: 0; FRA: 491; GER: 501; GRC: 0; HRV: 0; HUN: 0; IRL: 0; MKD: 0; MNE: 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| CZE | 263 |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  |  | 381 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 389 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 1 | 0 |  | Distance Calculator:
| DNK |  |  | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 839 | 537 | 0 | 0 | 0 | 0 | 0 | 0 |  | 830 |  | 0 | 0 | 794 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | https://www.distancecalculator.net/
| DKE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 524 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | https://www.mapdevelopers.com/distance_from_to.php
| DKW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 797 | 587 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 571 | 0 | 0 | 0 | 506 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ESP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 659 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| FRA |  | 260 | 0 | 0 | 491 |  |  | 0 | 0 | 1054 | 0 | 0 | 662 | 633 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GBR |  | 614 | 0 | 0 |  |  | 839 | 0 | 797 | 0 | 0 | 662 |  |  | 0 | 0 | 0 | 1 | 0 | 0 | 566 | 1287 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GER | 463 | 409 | 0 | 0 | 501 | 381 | 537 | 524 | 587 | 0 | 0 | 633 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 366 | 1366 | 632 | 0 | 0 | 1298 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| GRC | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| HRV | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1
| HUN | 434 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 612 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0
| IRL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MKD | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| MNE |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| NLD |  | 176 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 |  | 566 | 366 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1289 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NOR |  |  | 0 | 0 |  |  | 830 | 0 | 571 | 0 | 0 |  | 1287 | 1366 | 0 | 0 | 0 | 0 | 0 | 0 | 1289 |  |  | 0 | 0 | 321 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| POL |  |  | 0 | 0 |  | 389 |  | 0 | 0 | 0 |  |  |  | 632 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 | 1164 | 0 | 0 | 0 | 0 | 0 | 1 | 0
| PRT |  |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ROU |  |  | 1 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
| SWE |  |  | 0 | 0 |  |  | 794 | 453 | 506 | 0 | 659 |  |  | 1298 | 0 | 0 | 0 | 0 | 0 | 0 |  | 321 | 1164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SE1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SE2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SE3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SE4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SRB | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SVK | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SVN | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## ACDC
HVAC=1 HVDC=2; land connections were assumed to be AC and sea cables to be DC (Source: Peter Kämpfer)
| from to | IRL | GBR | PRT | ESP | FRA | BEL | NLD | LUX | GER | DKW | DKE | NOR | SWE | FIN | CHE | ITA | AUT | SVN | POL | CZE | SVK | HUN | GRC | ROU | HRV | BIH | SRB | MNE | MKD | BGR | Ligh blue area is used in EMMA
Irland/Northirland | IRL | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Great Britain | GBR | 2 | 0 | 0 | 0 | 2 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Portugal | PRT | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spain | ESP | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
France | FRA | 0 | 2 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Belgium | BEL | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Netherlands | NLD | 0 | 2 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Luxemburg | LUX | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Germany | GER | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 1 | 2 | 2 | 2 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Denmark West | DKW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 2 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Denmark Est | DKE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Norway | NOR | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sweden | SWE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 1 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finland | FIN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Switzerland | CHE | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Italien | ITA | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Austria | AUT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Slovenia | SVN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Poland | POL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Czech Republic | CZE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Slovakia | SVK | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hungary | HUN | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Greece | GRC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
Romania | ROU | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
Croatia | HRV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bosnia Herzegovina | BIH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Serbia | SRB | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Montenegro | MNE | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Macedonia | MKD | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bulgaria | BGR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## costgrid
Einheit | km | km | Mrd € | Mrd € | Mio €/km | Mio €/km |  | Data sources and comments
Szenario | B 2030 | B 2035 | B 2030 | B 2035 | B 2030 | B 2035
https://www.netzentwicklungsplan.de/sites/default/files/paragraphs-files/NEP_2030_V2019_1_Entwurf_Zahlen-Daten-Fakten.pdf#page=10
DC-Startnetz | 250 | 250 | 1.5 | 1.5 | 6 | 6
DC-Zubaunetz | 3870 | 4710 | 25 | 30 | 6.4599 | 6.3694
AC-Startnetz | 2380 | 2380 | 10 | 10 | 4.2017 | 4.2017
AC-Zubaunetz | 5060 | 5370 | 15.5 | 16.5 | 3.0632 | 3.0726
DC Start- und Zubaunetz | 4120 | 4960 | 26.5 | 31.5 | 6.432 | 6.3508
AC Start- und Zubaunetz | 7440 | 7750 | 25.5 | 26.5 | 3.4274 | 3.4194
Startnetz | 2630 | 2630 | 11.5 | 11.5 | 4.3726 | 4.3726
Zubaunetz | 8930 | 10080 | 40.5 | 46.5 | 4.5353 | 4.6131
Summe | 11560 | 12710 | 52 | 58 | 4.4983 | 4.5633
| AC-Verstärkung | AC-Verstärkung | DC-Verstärkung | DC-Verstärkung | AC-Neubau | DC-Neubau | Summe
all in km | Zu- / Umbeseilung | Neubau in Bestandstrasse | Zu- / Umbeseilung | Neubau in Bestandstrasse
Startnetz | 130 | 1650 | 0 | 0 | 600 | 250 | 2630
Zubaunetz B 2030 | 1680 | 2950 | 300 | 40 | 430 | 3530 | 8930
Zubaunetz B 2035 | 1680 | 3150 | 300 | 580 | 540 | 3830 | 10080
Start- und Zubaunetz B 2030 | 1810 | 4600 | 300 | 40 | 1030 | 3780 | 11560
Start- und Zubaunetz B 2035 | 1810 | 4800 | 300 | 580 | 1140 | 4080 | 12710

## template (2) (hidden)
Report XXX, scenario YYY, p. ZZZ, www.XXX.com
|  |  | "today" (20XX) | 2015 | 2020 | 2030 | 2040 | 2050 |  | "today" (20XX) | 2015 | 2020 | 2030 | 2040 | 2050
GER | energy (TWh) | wind onshore | [6 empty] | capacity (GW)
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal | [6 empty] | capacity (GW)
lignithe
gas
nuklear
oil
other conventional
| TWh | RES | [6 empty] | Mt CO2
non-RES
generation
consumption
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
SWE | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
POL | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
NLD | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
BEL | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
FRA | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
NOR | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
DK | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
GBR | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions
| capacity (GW) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| capacity (GW) | hard coal
lignithe
gas
nuklear
oil
other conventional
... | energy (TWh) | wind onshore
wind offshore
hydro
biomass
solar
waste
other RES
| energy (TWh) | hard coal
lignithe
gas
nuklear
oil
other conventional
| TWh | RES
non-RES
generation
consumption
| Mt CO2 | emissions